# Text boxes

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, persons with HIV, AIDS or other immune disorders, some elderly and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. United States Environmental Protection Agency and Centers for Disease Control guidelines on appropriate means to lessen risk of infection from Cryptosporidium and other microbial contaminants are available from the Environmental Protection Agency’s Safe Drinking Water Hotline

1-800-426-4791.

# MESSAGE FROM THE EPA REGARDING ARSENIC HEALTH EFFECTS:

# If arsenic is less than or equal to the MCL, your drinking water meets EPA’s standards.  EPA's standard balances the current understanding of arsenic's possible health effects against the costs of removing arsenic from drinking water.  EPA continues to research the health effects of low levels of arsenic, which is a mineral known to cause cancer in humans at high concentrations and is linked to other health effects such as skin damage and circulatory problems.

# MESSAGE FROM THE EPA REGARDING LEAD HEALTH EFFECTS:

# Infants and young children are typically more vulnerable to lead in drinking water than the general population.  It is possible that lead levels at your home may be higher than at other homes in the community as a result of materials used in your home’s plumbing.  If you are concerned about elevated lead levels in your home’s water, you may wish to have your water tested and to flush your tap for 30 seconds to two minutes before using tap water.  Additional information is available from the Environmental Protection Agency’s Safe Drinking Water Hotline (800-426-4791).

### Source Water Assessment Summary

In 2004, the Arizona Department of Environmental Quality completed a source water assessment for the four (4) groundwater wells used by Sunrise Water Co.  The Assessment reviewed the adjacent land uses that may pose a potential risk to the sources. These risks include, but are not limited to, gas stations, landfills, dry cleaners, agriculture fields, wastewater treatment plants, and mining activities.  Once ADEQ identified the adjacent land uses, they were ranked as to their potential to affect the water source.  The result of the assessment was low risk to groundwater.

Residents can help protect sources by practicing good septic system maintenance and limiting pesticide & fertilizer use. The complete Assessment is available for inspection at ADEQ 1110 W. Washington Phoenix, AZ 85007, between the hours of 8:00 am to 5:00 pm.  Electronic copies are available from ADEQ at dml@azdeq.gov.  For more information, call

Marvin Collins, Manager, Sunrise Water Co. at

623- 972-6133 or visit the ADEQ’s Source Water Assessment and Protection Unit website at: www.azdeq.gov/environ/water/dw/swap.html

Chemical Monitoring

Note to our water users: The state requires us to monitor for certain contaminants less often than once per year because the concentrations of these contaminants are not expected to vary significantly from year to year. Some of our data, such as for organic contaminants, though representative, may be more than one year old.

WATER HARDNESS

## Water hardness is around 10 grains per

## gallon or expressed in mg/l is 171.

Free water conservation material, landscape and watering information is available for our customers by contacting our office at 623-972-6133 or visits our web site www.jdcwater.com

# SUNRISE WATER CO.

# 2015 ANNUAL WATER

# QUALITY REPORT

# PWS ID # AZ04-07-070

We are pleased to present to you this year’s water quality report.  Our goal is to provide you with a safe and dependable supply of drinking water.

This report covers the period from

January 1, 2015 to December 31, 2015.

No violations of water standards have occurred.

# Este informe contiene información muy importante sobre la calidad su agua beber. Tradúzcalo o hable con alguien que lo entiende bien.

Definitions of Terms Used In This Report

AL = Action level- The concentration of a contaminant that, if

exceeded, triggers treatment or other requirements that

water system must follow.

MCL = Maximum Contaminant Level – The highest

level of a contaminant that is allowed in drinking water.

MCLs are set as close to the MCLGs as feasible using

the best available treatment technology.

MCLG = Maximum Contaminant Level Goal – The Level of a

contaminant in drinking water below which there is no known

or expected risk to health.   MCLGs allow for a margin of

safety.

MRDL=Maximum Residual Disinfectant Level –   The highest

level of a disinfectant allowed in drinking water.   There is

convincing evidence that addition of a disinfectant is

necessary for control of microbial contaminants.

MRDLG= Maximum Residual Disinfectant Level Goal – The

level of a drinking water disinfectant below which there is no

known or expected risk to health.  MRDLGs do not reflect the

benefits of the use of disinfectants to control microbial

contaminants.

ppm = parts per million, can also be stated as mg/l

milligrams per liter.

ppb= parts per billion, can also be stated as ug/l

micrograms per liter.

pCi/L= Picocuries per liter, Measurement of the natural rate

of disintegration

The sources of drinking water (both tap and bottle) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

- Microbiological contaminants such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

- Inorganic contaminants, such as salts and metals, which can be naturally occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining or farming.

- Pesticides and herbicides, that may come from a variety of sources such as agriculture, urban storm water runoff and residential uses.

- Organic chemical contaminants, including synthetic and volatile organic chemicals that are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems.

- Radioactive contaminants, that can be naturally occurring or be the result of oil and gas production and mining activities.

To ensure that tap water is safe to drink, the United States Environmental Protection Agency prescribes regulations that limit the amount of certain contaminants in water provided by public water systems. The United States Food and Drug Administration regulations establish limits for contaminants in bottled water.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that the water poses a health risk. More information about contaminants in tap water and potential health effects can be obtained by calling the Environmental Protection Agency's Safe Drinking Water Hotline (800-426-4791).  Information on bottled water can be obtained from the United States Food and Drug Administration.

Lead and Copper Monitoring

| Date Last Sampled for Lead: | August 2013 |
| --- | --- |
| 90th Percentile for Lead: | 3 ppb |
| Action Level | 15 ppb |
| Violation: | None |
| Likely Source: | Household Plumbing |
| Number of Sites Exceeding Lead Action Level: | None |

| Date Last Sampled for Copper: | August 2013 |
| --- | --- |
| 90th Percentile for Copper: | 0.23 ppm |
| Action Level | 1.33 ppm |
| Violation: | None |
| Likely Source: | Household Plumbing |
| Number of Sites Exceeding Copper Action Level: | None |

Radiochemical Analysis

| Gross Alpha |  |
| --- | --- |
| Sample Date | 2013 |
| Lowest Level | 2.6 +- 0.8 pCi/l |
| Highest Level | 4.1 +- 1.0 pCi/l |
| MCL | 15 pCi/l |
| MCLG | NA |
| Violation | None |
| Likely Source | Erosion of natural deposits |

| Combined Radium 226/228 |  |
| --- | --- |
| Sample Date | 2013 |
| Lowest Level | <0.4 pCi/l |
| Highest Level | <0.4 pCi/l |
| MCL | 5 pCi/l |
| MCLG | NA |
| Violation | None |
| Likely Source | Erosion of natural deposits |

Sunrise Water Co.

Located on the second floor at

9098 W. Pinnacle Peak Road

Peoria, Arizona 85383.

Office 623-972-6133

Fax     623-566-8925

Report Date May 2016

Inorganic Constituents

| Detected Constituent | Barium |
| --- | --- |
| Sample Date | February 2013 |
| Lowest Level | 0.038 ppm |
| Highest Level | 0.042 ppm |
| MCL | 2 ppm |
| MCLG | NA |
| Violation | None |
| Likely Source | Discharge of drilling wastes; discharge from metal refineries; erosion of natural deposits. |

| Detected Constituent | Chromium |
| --- | --- |
| Sample Date | February 2013 |
| Lowest Level | <5 ppb |
| Highest Level | 1.4 ppb |
| MCL | 100 ppb |
| MCLG | 100 ppb |
| Violation | None |
| Likely Source | Discharge from steel and pulp mills; erosion of natural deposits. |

| Detected Constituent | Fluoride |
| --- | --- |
| Sample Date | February 2013 |
| Lowest Level | 0.16 ppm |
| Highest Level | 0.19 ppm |
| MCL | 4 ppm |
| MCLG | 4 ppm |
| Violation | None |
| Likely Source | Erosion of natural deposits; discharge from fertilizer and aluminum factories. Sunrise Water Co. does not add fluoride to the water. |

| Detected Constituent | Nitrate |
| --- | --- |
| Sample Date | July 2015 |
| Lowest Level | 1.6 ppm |
| Highest Level | 3.7 ppm |
| MCL | 10 ppm |
| MCLG | 10 ppm |
| Violation | None |
| Likely Source | Runoff from fertilizer use; leaching from septic tanks; sewage; erosion of natural deposits. |

Disinfection Byproducts

| Total Trihalomethanes |  |
| --- | --- |
| Sample Date | July 2007 |
| Lowest Level | <0.0005 mg/l |
| Highest Level | 0.0012 mg/l |
| MCL | 0.080 mg/l |
| MCLG | NA |
| Violation | None |
| Likely Source | By-Product of drinking water chlorination |

Total Trihalomethanes: Consist of Chloroform, Bromoform, Bromodichloromethane, Dibromochloromethane.

| Total Haloacetic Acids | (Five) |
| --- | --- |
| Sample Date | July 2007 |
| Lowest Level | <0.002 mg/l |
| Highest Level | 0.0028 mg/l |
| MCL | 0.060 mg/l |
| MCLG | NA |
| Violation | None |
| Likely Source | By-Product of drinking water chlorination |

Haloacetic Acids: Consists of Monochloroacetic Acid, Dichloroacetic Acid, Trichloroacetic Acid, Bromoacetic Acid, Dibromoacetic Acid.

| Gross Alpha |  |
| --- | --- |
| Sample Date | 2007 |
| Lowest Level | 2.5 pCi/l |
| Highest Level | 3.4 pCi/l |
| MCL | 15 pCi/l |
| MCLG | NA |
| Violation | None |
| Likely Source | Erosion of natural deposits |

| Combined Radium 226/228 |  |
| --- | --- |
| Sample Date | 2007 |
| Lowest Level | <0.3 pCi/ll |
| Highest Level | 1.6 pCi/l |
| MCL | 5 pCi/l |
| MCLG | NA |
| Violation | None |
| Likely Source | Unknown |

Treatment

We disinfect our water with chlorine to help prevent bacteriological contamination

Disinfectants and Disinfection Byproducts

| Detected Constituent | Chlorine |
| --- | --- |
| Sample Date | 2015 |
| Lowest Level | 0.80 ppm |
| Highest Level | 1.50 ppm |
| Annual Average | 1.19 ppm |
| MCL | 4 ppm |
| MCLG | 4 ppm |
| Violation | None |
| Likely Source | Water additive to control microbes. |

| Detected Constituent | Total Trihalomethanes |
| --- | --- |
| Sample Date | August 2015 |
| No. of Analyses | 2 |
| Lowest Level | 0.0015 mg/l |
| Highest Level | 0.0020 mg/l |
| MCL | 0.080 mg/l |
| MCLG | NA |
| Violation | None |
| Likely Source | By-Product of drinking water chlorination |

| Detected Constituent | Total Haloacetic Acids (Five) |
| --- | --- |
| Sample Date | August 2015 |
| No. of Analyses | 2 |
| Lowest Level | 0.002 mg/l |
| Highest Level | 0.002 mg/l |
| MCL | 0.060 ppb |
| MCLG | NA |
| Violation | None |
| Likely Source | By-Product of drinking water chlorination |

Inorganic Constituents

| Detected Constituent | Arsenic |
| --- | --- |
| Sample Date | 2015 |
| Lowest Level | <0.1 ppb |
| Highest Level | 9.0 ppb |
| MCL | 10 ppb |
| MCLG | NA |
| Violation | None |
| Likely Source | Erosion of natural deposits; runoff from orchards; runoff from glass and electronic production wastes. |

Our Water Source

All of the water provided by Sunrise Water Co. comes from groundwater pumped from the West Salt River Valley Sub-Basin.  Our water system is served by six (6) wells that are located throughout our service area.  Depth to groundwater in our area is typically around 450 feet.

The frequency of testing for specific contaminants

varies in accordance with the regulations of the EPA and the Arizona Department of Environmental Quality (ADEQ).

Bacteriological Monitoring

Five (5) Samples are taken each month throughout the water distribution system

| Detected Constituent | Total Coliform Bacteria |
| --- | --- |
| Sample Date | 2015 |
| Results | None Detected |
| MCL | 0 |
| MCLG | 0 |
| Violation | None |
| Likely Source | Naturally present in the environment. |

| Detected Constituent | Fecal Coliform and E.Coli |
| --- | --- |
| Sample Date | 2015 |
| Results | None Detected |
| MCL | 0 |
| MCLG | 0 |
| Violation | None |
| Likely Source | Human and animal fecal waste |

VOCs (Volatile Organic Chemicals)

Date Last Sampled: 2014

Our sampling did not detect the presence of any VOCs.

SOCs (Synthetic Organic Chemicals)

Date Last Sampled:  2013

Our sampling did not detect the presence of any SOCs

## If you have questions or comments about this report or want more information, please feel free to contact our office at 623- 972-6133 or visit our website at www.jdcwater.com.